# Efficient Energy Storage Technology for Photovoltaic System

Hoda Akbari a, Maria C. Browne a, Anita Ortega a, Mingjun Huang b, Neil J. Hewitt b, Brian Nortonc, Sarah J. McCormack a*

a Department of Civil, Structural and Environmental Engineering, Trinity College, Dublin 2, Ireland

b School of Architecture and the Built Environment, Built Environment Research Institute, Ulster University, Belfast, UK.

c Dublin Energy Lab., Dublin Institute of Technology, Grangegorman, Dublin 7, Ireland.

*Corresponding author: mccorms1@tcd.ie

Abstract

For photovoltaic (PV) systems to become fully integrated in society, efficient, cost-effective energy storage systems must be utilized together with intelligent demandside management.  As the global solar photovoltaic market reaches 76 GW, increasing PV self-consumption will become important to achieve integrate more PV power in the power system.  The paper reviews current energy storage systems for PV. It encompasses (i) electrical energy storage systems (EES); (ii) thermal energy storage (TES) systems and (iii) integration of PV-energy storage in smart buildings and (iv) examines the potential and role of energy storage for PV in the context of future energy developments.

Keywords: Photovoltaic; Phase Change Material (PCM); Thermal Energy Storage (TES); Concentration; Solar electrical system; Building integration

- Introduction

Over the past decade, global installed capacity of solar photovoltaic (PV) has dramatically increased as part of a shift from fossil fuels and a move toward reliable, clean, efficient and sustainable fuels (Kousksou, Bruel, Jamil, El Rhafiki, & Zeraouli, 2014; Santoyo-Castelazo & Azapagic, 2014).  Energy storage is essential for PV technology to become completely reliable as a primary source of energy. It is necessary to store PV electricity when an excess is produced to be released when it is required. Energy storage can help networks withstand peaks in demand allowing transmission and distribution to operate at full capacity.  In terms of shorter periods of storage, it can be effective for smoothing out small peaks and distortion in voltage (Hadjipaschalis, Poullikkas, & Efthimiou, 2009).

Energy storage technologies can be classified as electrical, thermal and mechanical (Baker, 2008; Ibrahim, Ilinca, & Perron, 2008; Makarov et al., 2008; Schoenung & Hassenzahl, 2001). Electrical Energy Storage (EES) technologies include:

- Supercapacitors (electrochemical capacitors): Electrochemical capacitors sometimes referred to as “electric double-layer” capacitors and appear under trade names like “Supercapacitor” or “Ultracapacitor.” The phrase “double-layer” refers to their physically storing electrical charge at a surface-electrolyte interface of high-surface-area carbon electrodes.

- Electrochemical systems, such as embracing batteries and flow cells;

- Pumped hydro: creating large-scale reservoirs of energy with water.

- Compressed air energy storage (CAES): utilizing compressed air to create a potent energy reserve.

- Flywheels: mechanical devices that harness rotational energy to deliver instantaneous electricity.

EES can increase overall system efficiency, improve system performance and reliability, reduce the cost for better economics, minimize environmental pollution and reduce CO2 emissions (Balecom et al, 2015). AV can also, via resistance heating, supply a Thermal Energy Storage TES system which has similar steps in many applications. First the energy is supplied to the TES systems (charging), and then it will be stored (storage) and finally it will be removed from the TES for a later use (discharging) (Cabeza, 2012; Dinçer & Rosen, 2010; Mehling & Cabeza, 2008). There are three different types of thermal energy storage:

- Thermochemical energy storage;

- Sensible heat storage;

- Latent heat storage.

The intended end-use determines the most appropriate energy storage medium for PV generated electricity as shown in Figure 1.  For both AC and DC electrical end-uses batteries are suitable.  However if the end-use is heat then direct conversion of the electrical output to heat would be an efficient option.  For other water pumps to continue to supply well water at night it obviates the need to include unnecessary electrical storage when the pumped water is is stored during the day for nightime use (Oden et al, 2006, Bakelli et al, 2011).  Such water storage is usually placed at a height tha can provide sufficient pressure to achieve an adequate discharge rate. This can potentially be used for small scale hydropower (Manolakos et al, 2004, Ma et al, 2015)

Figure 1. PV Energy Storage Systems

- Energy Storage for PV

  - Electrical Energy Storage (EES)

The conjunction of PV systems with storage batteries allows a further increase of self- consumed PV electricity. With a battery system, the excess PV electricity during the day is buffered and later used at night. In this way, households equipped with a PV battery system can reduce the energy drawn from the grid and therefore increase their self-sufficiency (Weniger, Tjaden, & Quaschning, 2014), therefore PV battery systems of various sizes could reduce the dependence of residential customers on the central grid and their impact on CO2 emissions.

    - Challenge of using EES for PV

Electrical Energy Storage (EES) refers to a process of converting electrical energy into a form that can be stored for converting back to electrical energy when needed. Such a process enables electricity to be produced at times of either low demand, low generation cost or from intermittent energy sources and to be used at times of high demand, high generation cost or when no other generation means is unavailable (Ibrahim et al., 2012). From Fig. 2 it can be seen how storage is charged from baseload generation plant at early hours in the morning and late hours in the night. This storage energy is used to counter demand in peak hours (around 6 pm). In addition, the storage energy between 6 am and 6 pm maintain frequency and voltage by balancing supply and demand.

Fig. 1. Fundamental idea of the energy storage (Ibrahim et al., 2012)

EES can be divided in a range of categories, including mechanical, thermal and chemical storage. Each of these broad categories has a unique set of parameters to measure cost and performance. Table 1 summarizes the technical characteristics of different EES technologies.

Table 1. Comparison of technical characteristics of EES (Ibrahim et al., 2012).

| Storage Technology | Power rating (MW) | Discharge time | Capital cost (USD/KW) | Efficiency (%) |
| --- | --- | --- | --- | --- |
| SMES | 0.1-10 | ms to 8s | 200-500 | 80-90 |
| Flywheels | 0-10 | ms to 40s | 250-450 | 90-95 |
| Capacitor | 0-0.05 | ms to 60s | 200-500 | 60-75 |
| Supercapacitor | 0-0.3 | ms to 60s | 100-500 | 90-100 |
| Batt-ZEBRA | 0-0.3 | seconds to hours | 150-300 | 85-90 |
| Batt-NaS | 0.05-50 | seconds to hours | 600-3000 | 75-90 |
| Batt-Lead acid | 0-20 | seconds to hours | 300-800 | 70-80 |
| Batt-NiCd | 0-40 | seconds to hours | 500-1500 | 60-70 |
| Flow-ZnBr | 0.05-2 | seconds to 10 hours | 600-2500 | 65-75 |
| Flow-VRB | 0.03-7 | seconds to 10 hours | 600-2500 | 75-90 |
| Flow-PSB | 1.0-15 | seconds to 10 hours | 600-2500 | 60-70 |
| Metal-air | 0-0.01 | seconds to 24 hours and more | 100-250 | 30-50 |
| Fuel cells | 0-50 | seconds to 24 hours and more |  | 20-50 |
| Batt-Li-ion | 0-0.1 | minutes to hours | 1200-4000 | 85-100 |
| AL-TES | 0-5 | 1h to 8 hours |  | 40-60 |
| CES | 0.1-300 | 1h to 8 hours | 200-300 | 40-50 |
| Solar fuel | 0-10 | 1h to 24 hours and more |  | 20-30 |
| HT-TES | 0-60 | 1h to 24 hours and more |  | 30-60 |
| CAES | 5-300 | 1h to 24 hours and more | 400-1350 | 70-80 |
| PHS | 100-5000 | 1h to 24 hours and more | 600-2000 | 70-85 |

Distributed solar PV-battery systems are installed for many reasons, these can be altruistic rather an economic and/or relate to achieving local security of supply.  PV-battery systems can immediately provide lower electricity bills where favorable policies, including net metering, feed-in tariffs, tax credits, and particular rate structures are in place.

PV-battery systems can confer societal benefits, particularly the reduction of CO2 emissions. Solar PV reduces system level CO2 emissions if it offsets generation from fossil fuels. CO2 reduction benefits are an important motivator for many customers installing PV systems, even though the benefits accrue to society at large. In addition, PV-battery systems can provide grid-level benefits that improve the overall efficiency of the electricity grid and reduce system-level costs (Hanser, et al, 2017).

Benefits of PV-battery systems include the ability of pv generated electricity to be used to:

- offset generation from more expensive generators;

- reduce congestion on transmission and distribution systems;

- stabilize local electricity flow;

- control local voltage fluctuations; and

- enable transmission and distribution system upgrades to be avoided or deferred.

    - Types of Electrical Energy Storage for PV

A battery which stores electricity in the form of chemical energy is comprised of one or more electrochemical cells where each cell consists of a liquid, paste, or solid electrolyte together with a positive electrode (anode) and a negative electrode (cathode). During discharge, electrochemical reactions occur at the two electrodes generating a flow of electrons through an external circuit. The reactions are reversible, allowing the battery to be recharged by applying an external voltage across the electrodes (Chen et al., 2009).

Currently various batteries are used for the application with pv systems

- Flow batteries (ZnBr, VRB and PSB):  batteries where the energy is stored directly in the electrolyte solution for longer cycle life, and rapid response times.

- Sodium–sulfur batteries (NaS):

- Lithium–ion batteries (Li–ion): Li-ion batteries have been deployed in a wide range of energy-storage applications, ranging from energy-type batteries of a few kilowatt-hours in residential systems with rooftop photovoltaic arrays to multi-megawatt containerized batteries for the provision of grid ancillary services.

- Nickel–cadmium batteries (Ni–Cd): can provide long life and reliable service.

- Lead–acid batteries: provide a cost-competitive and proven energy storage but have relatively limited cycle life, low-energy density and a resulting large footprint (Baker, 2008).

- Metal–air batteries: consists of the anode made from pure metal and the cathode connected to a supply of air (International Electrotechnical Commission and Commission, 2011).

Fig. 3, shows applications of energy storage systems in accordance with discharge time and rated power. Table 2, shows a resume of different battery storage technologies system installed and Table 3, shows batteries storage for utility transmission and distribution grid support.

Fig. 3. Application of energy storage systems in terms of discharge time and rated power (Toledo, Oliveira Filho, & Diniz, 2010).

Table 2. Battery technologies characteristics and commercial units used in electric utilities (Divya & Østergaard, 2009).

| Battery Type | Largest capacity | Efficiency (%) | Cost (euro/KWh) | life span (cycles) |
| --- | --- | --- | --- | --- |
| Lead acid (flooded type) | 10MW/40MWh | 72-78 | 50-150 | 1000-2000 |
| Lead acid (valve regulated) | 300KW/580KWh | 72-78 | 50-150 | 200-300 |
| Nickel Cadmium (NiCd) | 27MW/6.75MWh | 72-78 | 200-600 | 3000 |
| Sodium Sulphur (NaS) | 9.6MW/64MWh | 89 |  | 2500 |
| Lithium ion |  | 100 | 700-1000 | 3000 |
| Vanadium redox (VRB) | 1.5MW/1.5MWh | 85 | 360-1000 | 10000 |
| Zinc Bromine | 1MW/4MWh | 75 | 360-1000 |  |
| Metal air |  | 50 | 50-200 | 100 |
| Regenerative fuel cell (PSB) | 15MW/120MWh | 75 | 360-1000 |  |

Table 3. Energy storage for utility transmission and distribution grid support (Dunn, Kamath, & Tarascon, 2011).

| Technology | Capacity (MWh) | Power (MW) | Duration (Hours) | Effiiency (%) | Total cost (USD/KWh) |
| --- | --- | --- | --- | --- | --- |
| CAES | 250 | 50 | 5 |  | 1950-2150 |
| Pb-acid | 3.2-48 | 1.0-12 | 3.2-4 | 75-90 | 2000-4600 |
| NaS | 7.2 | 1 | 7.2 | 75 | 3200-4000 |
| Zn/Br flow | 5.0-50 | 1.0-10 | 5 | 60-65 | 1670-2015 |
| V redox | 4.0-40 | 1.0-10 | 4 | 65-70 | 3000-3310 |
| FeCr flow | 4 | 1 | 4 | 75 | 1200-1600 |
| Zn air | 5.4 | 1 | 5.4 | 75 | 1750-1900 |
| Li-iom | 4.0-24 | 1.0-10 | 2.0-4 | 90-94 | 1800-4100 |

Lead acid batteries, invented in 1859, are the oldest and most widely used rechargeable electrochemical devices. A lead acid battery consists of electrodes of lead metal and lead oxide in an electrolyte of about 37% sulphuric acid. In the discharged state both electrodes turn into lead sulphate and the electrolyte loses its dissolved sulphuric acid and becomes primarily water. Lead acid battery has a low cost ($300–600/kWh), and a high reliability and efficiency (70–90%). It is a popular storage choice for power quality, UPS and some spinning reserve applications. Its application for energy management, however, has been very limited due to its short cycle life (500–1000 cycles) and low energy density (30–50 Wh/kg) due to the inherent high density of lead. To overcome the poor low temperature performance of Lead acid batteries requires a thermal management system (Chen et al., 2009).

NiCd batteries contain a nickel hydroxide positive electrode plate, a cadmium hydroxide negative electrode plate, a separator, and an alkaline electrolyte. NiCd batteries usually have a metal case with a sealing plate equipped with a self-sealing safety valve. The positive and negative electrode plates, isolated from each other by the separator, are rolled in a spiral shape inside a case.  NiCd batteries have a high energy density (50–75 Wh/kg), a robust reliability and very low maintenance requirements, but relatively short cycle life (2000–2500). These advantages over lead acid batteries make them favored for use in power tools, portable devices, emergency lighting, UPS, telecoms, and generator starting. The main drawbacks of NiCd  are: (i) the batteries have a relatively high cost due to the expensive manufacturing process and (ii) cadmium is a toxic heavy metal hence posing issues associated with the disposal of NiCd batteries (Dunn et al., 2011b).

Sodium-Sulfur batteries consist of a molten sulfur positive electrode and a molten sodium negative electrode separated by a sodium beta alumina ceramic electrolyte as it is shown in Fig. 4. The electrolyte permits that only positive sodium ions pass to combine with sodium for the formation of sodium polysulfide. During the discharge process, positive sodium ions flow through the electrolyte and electrons pass through an external circuit generating a voltage of roughly 2 V. This process is reversible; and by using the charge, sodium ions are liberated from the sodium polysulfide and return through the electrolyte to recombine with the sodium element (Toledo et al., 2010). Characteristics of NaS batteries include:

- expected operational duration of 15 years considering 2500 cycles (charge and discharge) for a 100% depth of discharge (DOD), 4500 cycles for a 90% DOD or 6500 cycles for a 65% DOD;

- output voltage (CC) of 64 or 128 V for peak-shaving application modules and 640 V for energy quality application modules power of 50 kW;

- energy of 430 kWJ for application in peak-shaving and 360 kWh for application in energy quality; rapid response time, complete discharge in 1 ms if necessary;

- high energy density, three to five times that of a lead–acid battery;

- unaffected by ambient temperatures (operates from 290–360 8 C);

- allows for remote operation and monitoring with minimal maintenance;

- no emissions or vibrations, low noise compared to other energy conversion systems

- 98% of the material utilized in the NaS batteries can be recycled, only the sodium cannot be reused.

Fig. 4. Schematic of the NaS battery (Dunn, Kamath, & Tarascon, 2011)

In lithium-ion batteries, the cathode is a lithiated metal oxide and the anode is made of graphitic carbon with a layering structure. The electrolyte is made up of lithium salts dissolved in organic carbonates. When the battery is charged, the lithium atoms in the cathode become ions and migrate through the electrolyte toward the carbon anode where they combine with external electrons and are deposited between the carbon layers as lithium atoms. This process is reversed during the discharge process. The efficiency of Li-ion batteries is almost 100% another important advantage over other batteries. Although Li-ion batteries take over 50% of the small portable devices market, the challenge for making large-scale Li-ion batteries is their high cost (>$600/kWh) due to special packaging and internal overcharge protection circuits (Chen et al., 2009).

Metal-Air batteries are the most compact and, potentially, the least expensive batteries (Chen et al., 2009). Among the various metal air battery chemical couples, the lithium air battery is most attractive since its theoretical specific energy excluding oxygen is 11.14 kWh/kg, corresponding to about 100 times more than other battery types and even greater than petrol (10.15 kWh/kg). However, the high reactivity of lithium with air and humidity can cause fire, which is a high safety risk. Currently only a zinc air battery with a theoretical specific energy excluding oxygen of 1.35 kWh/kg is technically feasible (International Electrotechnical Commission and Commission, 2011). Zinc air batteries have some properties of fuel cells and conventional batteries: the zinc is the fuel, the reaction rate can be controlled by varying air flow, and oxidized zinc/electrolyte paste can be replaced with fresh paste (Chen et al., 2009). A schematic of metal air battery is can been seen in Fig. 5.

Fig. 5. Schematic of the metal air battery (Chen et al., 2009).

A flow battery is a form of a battery in which the electrolyte contains one or more dissolved electroactive species flowing through a power cell/reactor in which the chemical energy is converted to electricity. Additional electrolyte is stored externally, generally in tanks, and is usually pumped through the cell of the reactor as is shown in Fig. 6. The reaction is reversible allowing the battery to be charged, discharged and recharged. In contrast to conventional batteries, flow batteries store energy in the electrolyte solutions. The power and energy ratings are independent of the storage capacity determined by the quantity of electrolyte used and the power rating by the active area of the cell stack. Flow batteries can release energy continuously at a high rate of discharge for up to 10 hours (Dunn et al., 2011b).

Fig. 6. Schematic of flow battery (Chen et al., 2009).

Toledo et al. (2010) found that a photovoltaic system with a NaS battery storage system enables economically viable connection to the energy grid. Having a long useful life NaS batteries have high efficiency in relation to other batteries, thus requiring a smaller space for installation. The installation of these systems in densely, interconnected to buildings, renders grid transmission lines unnecessary. Application of photovoltaic systems with NaS batteries for peak-shaving can be used by utilities to increase reliability of their systems (Toledo et al, 2010).

Hoppmann et al. (2014) summarized different battery storage for residential solar photovoltaic systems as shown in Table 4.

Table 4. Scope of previous studies investigating battery storage with PV system (Hoppmann et al, 2014)

| Study | Lead Acid | Sodium Sulfur | Lithium Ion | Nicken Cadmium | Vanadium Redox Flow |
| --- | --- | --- | --- | --- | --- |
| (Askari & Ameri, 2009) | √ |  |  |  |  |
| (Avril, Arnaud, Florentin, & Vinard, 2010) | √ |  |  | √ |  |
| (Battke, Schmidt, Grosspietsch, & Hoffmann, 2013) | √ | √ | √ |  | √ |
| (M. Braun, K. Büdenbender, D. Magnor, 2009) |  |  | √ |  |  |
| (Celik, Muneer, & Clarke, 2007) | √ |  |  |  |  |
| (Colmenar-Santos, Campíñez-Romero, Pérez-Molina, & Castro-Gil, 2012) | √ |  |  |  |  |
| (Jallouli & Krichen, 2012) | √ |  |  |  |  |
| (Kaldellis, Zafirakis, Kaldelli, & Kavadias, 2009) | √ | √ |  |  |  |
| (Kolhe, Kolhe, & Joshi, 2002) | √ |  |  |  |  |
| (Lazou & Papatsoris, 2000) | √ |  |  |  |  |
| (Li, Zhu, Cao, Sui, & Hu, 2009) | √ |  |  |  |  |
| (Liu, Rasul, Amanullah, & Khan, 2012) | √ |  |  |  |  |
| (Wissem, Gueorgui, & Hédi, 2012) | √ |  |  |  |  |

For online energy management (OEM) for a lithium-ion battery bank used in PV-based systems to meet the load demand, the capacity fade of the lithium-ion battery is influenced by charge/discharge currents, DOD, temperature and cycle number (Feng et al, 2015).

    - Advantages of EES for PV

Battery storage is an effective means for reducing the intermittency of electricity generated by solar photovoltaic (PV) systems (Hoppmann et al., 2014) to improve the load factor, considering supply side management, and the offer of backup energy, for demand side management.  PV systems have often been installed to feed the generated electricity into the electricity grid, which was remunerated with feed-in tariffs. However, this changed in the beginning of 2012, when the feed-in tariffs for PV systems below 10 kWp undercut the retail electricity prices for households in Germany (Weniger et al, 2014) . With the increase of PV feed-in tariffs and prices of grid electricity, using the PV generated electricity in the household level is becoming more attractive than feeding it into the grid. PV systems with battery storage can increase of self- consumed PV electricity. With a battery system, the excess PV electricity during the day is buffered and later used at night. In this way, households equipped with a PV battery system can reduce the energy drawn from the grid and therefore increase their self-sufficiency.

    - Limitation of Electrical PV storage

Three barriers to a more widespread use of solar PV are that (i) electricity generation from this source is limited to daytimes, (ii) depends on local weather conditions and (iii) fluctuates strongly over the year. While the possibility of shifting the supply of electricity to different times enhances the value of the electricity produced, adding storage technologies to a PV system also raises the overall investment cost to be borne by plant operators. In Germany programs now subsidize the use of storage technologies for residential PV. Considering the falling costs for both PV and battery technologies, however, it remains controversial whether and for how long these subsidies are necessary to drive the deployment of storage technologies. The economic viability of storage is often based on an assumption that policy support in the form of feed-in tariffs for solar photovoltaic power and/or additional premiums for self-consumed electricity. However, feed-in tariffs in many countries have significantly decreased over last years and are expected to be phased out. Therefore, it is important to investigate the viability of storage in an environment without subsidies for PV and storage technologies. Studies of the viability of storage for residential PV have usually investigated a limited number of sizes for both the PV system and the battery storage. Without the assumption of no additional policy incentives, the chosen size of the PV system and battery storage strongly affect the economic viability of the integrated PV and battery system. As a result, it currently remains unclear when storage investments will be economically viable for a household that optimizes the size of the PV system and the battery storage at the time of investment.

    - Economic impacts of performance for PV production and storage

PV energy worldwide from 2000 to 2010 grew from 1.5 GWp to 40 GWp cumulative capacity respectively. In addition, system cost has reduced dramatically and the device efficiency has increased steadily.

A novel method to obtain the optimum community energy storage (CES) systems for end user applications (Parra et al, 2015) evaluates the optimum performance, levelised cost (LCOES), the internal rate of return and the levelised value of suitable energy storage technologies. A complimentary methodology was developed including three reference years (2012, 2020 and zero carbon year) to show the evolution of the business case during the low carbon transition. This method was applied with lead-acid (PbA) and lithium-ion battery (Li-ion) technologies when performing PV energy time-shift using real demand data from a single home to a 100-home community. The community approach reduced the LCOES to 0.30 £/kW h and 0.11 £/kW h in 2020 and the zero carbon year respectively. These values meant a cost reduction by 37% and 66% regarding a single home. PbA batteries needed from 1.5 to 2.5 times more capacity than Li-ion to reduce the LCOES. The worst case scenario being for the smallest communities, where the spiky demand profile required proportionately larger PbA battery capacities (Parra et al, 2015).

To analyze a residential PV battery system in order to gain insights into their sizing a simulation model was developed by Weniger et al (2014) and system simulations on a timescale of one minute performed.  In the considered long-term scenario the conjunction of PV systems with batteries will be not only profitable but also the most economical solution (Weniger et al, 2014).

In 2014, Hoppmann et al. developed a techno-economic model that simulates the profitability of battery storage from 2013 to 2022 under eight different scenarios for PV investment costs and electricity prices in Germany, assuming no feed-in or self-consumption premium pay for electricity generated using solar PV. For an economically-rational household, investments in battery storage were profitable for small residential PV systems. The optimal PV system and storage sizes rise significantly over time such that in their model households become net electricity producers between 2015 and 2021 if they are provided access to the electricity wholesale market. Increases in retail or decreases in wholesale prices further contribute to the economic viability of storage. Under a scenario where households are not allowed to sell excess electricity on the wholesale market, the economic viability of storage for residential PV is particularly high. Thus additional policy incentives to foster investments in battery storage for residential PV in Germany were determined to be necessary only in the short-term. At the same time, the increasing profitability of integrated PV-storage-systems may bring major challenges for electric utilities that are likely to require increased investments in technical infrastructure that supports electricity generation (Hoppmann, Volland, Schmidt, & Hoffmann, 2014).

To address how PV battery systems of various sizes could reduce the dependence of residential customers on the central grid and their impact on CO2 emissions in United States, Hanser et al (2017) analyzed how the costs of such systems change as customers attempt to decrease their dependence on the grid, considering the installed cost of PV-battery systems and the cost of electricity under a net-energy metered rate structure. The results showed that fully disconnecting from the grid with a PV-battery system is impractical for most residential customers without also having dispatchable backup generation (Hanser, Lueken, Gorman, & Mashal, 2017).

  - Photovoltaic Modules and Thermal Energy Storage (TES)

    - Use of latent heat storage for the thermal management of PV

In latent heat storage, thermal energy is stored/released by a material while changing its phase at a constant temperature. It is also a pure physical process without any chemical reaction during charge or discharge. The amount of heat stored is generally the latent heat of phase change (latent heat of fusion for a solid-liquid transition and latent heat of vaporization for a liquid-vapor transition), (Pelay et al, 2017).

Phase change materials (PCM) absorb thermal energy as latent heat at a constant phase change temperature. PCM with a suitable phase transition temperature can be used to regulate the temperature of PV cells (Huang et al., 2006a;  Hasan, 2010b;  Hasan et al., 2014a) thus maintaining high efficiency for an extended period of time. Compared to other methods of temperature regulation, the use of PCM has the added advantage of storing heat energy that can be used asynchronously.

At initial heating, a PCM heats sensibly and when the PCM reaches the melting/solidification temperature, the material absorbs latent heat, progressively melting. Melted PCM continues to warm further as it melts. The duration and temperature range over which the phase change takes place depends on the mass of PCM and the thermal conductivity of PCM and any enhanced heat transfer elements therein. Once PCM has completely changed phase the material will begin to heat sensibly again. This process is illustrated in Figure 7 (Günther et al., 2009).

Fig. 10. Graphical representation of the variation of stored heat of a PCM with increasing temperature (Günther et al., 2009)

A classification of PCM in terms of melting temperature and melting enthalpy is shown in Figure 8 (Cabeza et al., 2011). PCMs are divided into organic (paraffin, fatty acid), inorganic (hydrated salts) and eutectic (mixture of organic or inorganic PCM) within the required melting temperature of 20 ºC to 100 ºC. Cabeza el al. (Cabeza et al., 2011) divided PCM into groups;

- Cooling applications up to 21ºC

- 22 ºC - 28 ºC for comfort in building applications

- 29 ºC - 60 ºC for hot water applications

- High temperature applications requiring PCM of between 61 ºC - 120 ºC

Fig. 8. PCM classification based on melting temperatures and melting enthalpy (Cabeza et al., 2011)

There has been considerable research on types of PCM, their applications and thermophysical properties (Zalba et al., 2003;  Sari et al., 2004;  Sharma et al., 2009;  Kousksou et al., 2014;  Yuan et al., 2014a). The advantages and disadvantages of PCM types for heat storage are summarised in Table 5 (Zalba et al., 2003).

Table 5. Advantages and disadvantages of organic and inorganic PCM for thermal storage (Zalba et al., 2003)

|  | Organics | Inorganics |
| --- | --- | --- |
| Advantages | Non corrosive Low or no undercooling Chemical and thermal stability | Greater phase change enthalapy |
| Disadvantages | Lower phase change enthalapy Low thermal conductivity Inflammability | Undercooling Corrosive Phase segregation Lack of thermal stability |

The desired characteristics of a material are dependent on the application. However, PCM with a high phase change enthalpy, being non-corrosive, with no subcooling and with chemical and thermal stability would be an ideal choice but where this is unavailable material properties have to be prioritised with regard to PV applications.

PCM melting temperatures vary considerably due to material type, thermal properties and chemical structure (Cabeza et al., 2011;  Oró et al., 2013). PCM with specific melting temperatures are available and their thermophysical properties known (Zalba et al., 2003;  Agyenim et al., 2010;  Cabeza et al., 2011;  Liu et al., 2012). Paraffin waxes are suited to lower temperature applications (<100ºC) and molten salts can be used for high temperature requirements.

    - Thermal Management of PV using PCM

In 1978, it was suggested PCM could act as a potential thermal storage if integrated with a PV. This concept was patented in 1983 (Ames, 1983). However, after this, PCM was not investigated as a means of cooling PV until the mid-1990s. There have been many experimental and computational investigations into the use of PCM to regulate the temperature of PV (Ling et al., 2014). The first study of PCM as a potential method to regulate the temperature of PV is illustrated in Fig. 9  (Stultz and Wren, 1978).

Fig. 9 Phase change material integrated with a photovoltaic model (Stultz and Wren, 1978)

Stultz (Stultz and Wren, 1978) used Eicosane with a melting point of 36.7 ºC, with a Spectrolab PV module used. The properties of Eicosane are detailed in Table 6. The high thermal expansion is an undesirable property when integrated into a PV/PCM system.

Table 6. Properties of Eicosane, the first PCM integrated with PV (Stultz and Wren, 1978)

| Property |  |
| --- | --- |
| Melting temperature (ºC) | 36.7 |
| Density: Solid (kg/m3) Liquid (kg/m3) | 855.4 778.5 |
| Latent heat (kJ/kg) | 246.5 |
| Specific heat: Solid (J/kg.K) Liquid (J/kg.K) | 2.21 2.00 |
| Expansion in phase change | 15% |
| Thermal conductivity W/(m2/K) | 0.491 |

The experiment showed an increase of 1.4 % in the electrical efficiency of the PV. However, it was noted this could be improved with enhanced thermal conductivity of PCM and thus heat transfer from the PV to PCM. Stultz claimed if the PCM were successful in absorbing the excess thermal energy, an improvement in power of 2 % to 3.5 % could be expected. A PV/PCM system was not considered financially viable, however a PV combined with a thermal storage system was seen to have the potential to be cost effective. This work was discussed in a patent in 1983 but was not developed commercially (Ames, 1983).

In a patent published in 2005 (Al-Hallaj and Selman, 2005) PCM was incorporated in a battery module system, including a fuel cell battery system. The invention refers to an arrangement whereby the PCM absorbs a percentage of the heat generated upon a charge or discharge of electrical energy as shown in Fig. 10. The objective of the system was to improve the power supply of the system by regulating undesired temperature increases, minimise non-uniformity of temperature and act as a heat sink.

Fig. 10. Configuration of electrochemical cell incorporated with PCM (Al-Hallaj and Selman, 2005)

Huang et al. (2000) progressed the concept independently with extensive experimental and simulation studies. The first numerical PV/PCM model was validated successfully by comparison with small scale experiments. Three systems were analysed under varying environmental conditions; (i) an aluminium plate to simulate a PV cell; (ii) an aluminium plate with a container filled with PCM to simulate a PV/PCM system; an aluminium plate with a container filled with PCM with integrated fins, as in Fig. 11.

Temperature variation through the PCM and the solid–liquid transition of the PCM compared well with predictions. Integrated PCM system with fins demonstrated effective temperature regulation of the plate (Huang et al., 2004).

Fig. 11. Photographic image of melting front of PV/PCM system (Huang et al., 2004)

A 3D thermophysical model for a PV/PCM system based on the Navier-Stokes equation was developed for predicting the convective velocities of melted PCM and temperatures inside the PV/PCM system, this model was compared with a previously published 2D model. The 2D model can be used to predict temperature of a simple linear PV/PCM system however the 3D model allows the prediction of a line-axis system to be resolved (Huang et al., 2006b;  Huang, 2007). The application of fins in a PV/PCM system in BIPV to improve low heat transfer rates of PCM was found to moderate the increase in temperature of PV (Huang et al., 2006c). Aluminium fins, integrated in a PV/PCM system, (Huang et al., 2011) were used to investigate the melting process of PCM and the effect of differently spaced fins both theoretically and experimentally using PCM RT27. Additional fins were shown to improve the temperature control of the PV.

Hasan et al. (2010b) investigated experimentally the use of different PCM types to enhance the thermal regulation of BIPV in a series of small scale indoor experiments. Five PCMs (RT20, capric:palmitic acid, capric:lauric acid, calcium chloride and SP22) and four different systems System A (Aluminium, internal width 5 cm), System B (Perspex, internal width 5 cm), System C (Aluminium, internal width 3 cm) and System D (Perspex, Internal width 3 cm)) as in Fig. 12 were tested under three insolation values (500 W/m2, 750 W/m2 and 1000 W/m2) in a small scale indoor experiment using a solar simulator to imitate solar conditions at an ambient temperature of ± 1ºC.

Fig. 12. System A, B, C and D (Hasan, 2010b)

For insolation of 500 W/m2, System A with capric: lauric and capric: palmitic was shown to maintain a lower PV temperature for the longest period, (up to 2.5 hours at 10 ºC lower than the reference system). At 750W/m2 and 1000W/m2 as shown in Figure 13. System A with calcium chloride was shown to maintain PV front surface temperatures 10 ºC below the reference for a prolonged period of time compared to the other systems.

Fig. 13. Results from experiments at (a) 750 W/m2 and (b) 1000W/m2(Hasan, 2010b)

The thermal behaviour of the PV/PCM system was simulated for hot climatic conditions (Cellura et al., 2008) with three paraffin waxes, that melted at 26 ºC  - 28 ºC, 31 ºC, 28 ºC  - 32ºC for PCM1, PCM2 and PCM3, respectively.

A proposed BIPV PV/PCM system using microencapsulated PCM (MEPCM) as shown in Fig. 14 (Ho et al., 2012), where navy is glass layer in PV, yellow is plastic layer in PV and grey is PCM and each number represents a surface of the calculation model, each having its own boundary conditions. The model showed an increase of 14 % in the PV/PCM system when compared to a system without PCM, although this model had yet to be validated experimentally.

Fig. 14. Schematic of heat transfer through BIPV PV/PCM system (Ho et al., 2012)

A MEPCM with melting temperature of 26 ºC was simulated, during summer an increase of 0.13 % of electrical efficiency was shown with MEPCM compared to without MEPCM, winter time confirmed an increase in efficiency of 0.42 %. The optimum aspect ratio (width/height) of MEPCM incorporated in the system was recommended to be between 0.277 and 1. The melting temperature of the PCM was above ambient and close to standard test conditions of the PV, this was a small phase transition temperature which allowed for maximum transfer of latent heat to PCM. At an ambient temperature of 26 ºC and solar irradiance of 600 W/m2 PCM with melting temperatures of 26 ºC and 34ºC increase the efficiency of a PV module by 0.09 % and 0.12 %, respectively (Ho et al., 2012). Corresponding results have been reported (Tanuwijava et al., 2013). A similar study was undertaken to assess the performance of water-saturated MEPCM/PV system, as in Fig. 15, using a CFD numerical simulation (Ho et al., 2013).

Fig. 18. Schematic of heat transfer in a PV/MEPCM module (Ho et al., 2013)

It was concluded that under summer conditions corresponding to an ambient temperature of 30 ºC and solar irradiance of 650 W/m2 that a PCM with a melting point of 30 ºC and 30 cm layer of MEPCM be incorporated with the PV system. This melting temperature allows for phase change to occur during peak sunshine hours and during night time the MEPCM could discharge fully. Under these conditions an increase of 2 % in efficiency would be expected in the system compared to a PV only. A numerical study of a water-surface floating PV/MEPCM system showed a 1.8 ºC reduction in the temperature of the PV surface and 2.1 % increase in the electrical output relative to a PV system without a MEPCM layer (Ho et al., 2015).

Sarwar et al. (2014) simulated the temperature regulation of the PV/PCM system illustrated in Fig. 16 using a finite element numerical heat transfer simulation model that accounted the electrical conversion of incident light and real-time heat loss boundary coefficients.

Fig. 16. Optics, electrical conversion and heat transfer mechanism in PV/PCM systems (Sarwar et al., 2014)

This model was validated by comparing the simulated and experimental temperature evolution of PV at an incident irradiance of 1000 W/m2. The small-scale indoor experiment was carried out on three inorganic PCM, capric-palmitic, capric-lauric and RT20. A 10 x 10 x 0.05 cm3 PV cell was encapsulated in 3 mm thick Perspex and attached to an aluminium container which held the PCM. The model investigated the temperature evolution, velocities and phase change fraction of the PCM and found ~1 ºC temperature difference between the modelled and experimental results.

Jay et al. (2010), furthered investigated such systems via the experiment shown in Fig. 17 which consisted of 4 panels, panel 1 and 2 with PCM of melting points 45 ºC and 27 ºC, respectively, panel 3 is insulated from the rear and a panel 4 is a standalone PV. The PCM was encapsulated into a honeycomb made of aluminium to promote heat conduction. Three solar irradiance intensities of 600, 800 and 1000 W/m2 were simulated using a solar simulator and each system characterised.

Fig. 17. (a) Aluminium honey comb (b) Experimental set up where (1) PV/PCM Tmelt 45ºC (2) PV/PCM Tmelt 27ºC (3) PV insulated and (4) PV standalone (Jay et al., 2010)

Under an irradiance of 800 W/m2, the temperature of the panels coupled with the PCM remained below that of the reference panels for over 5.5 hours. The increase of instantaneous electrical production due to the temperature regulation of the PV by the PCM was estimated to be about 15 % – 23 % compared to a PV system alone. Simulations carried out using CFD codes followed the same trends as the experimental investigations with small differences in the predicted PV temperatures due to the approximation of material properties, heat transfer coefficients, surface emissivity and air gap depth.

Japs et al. (2013), undertook an experimental analysis of a PV module integrated with a paraffin based PCM. The PCM was incorporated with an aluminium-polymer compound to improve its thermal properties. The PCM was shown to have a higher thermal conductivity but decreased storage capacity when compared to its non-improved counterpart. Macro-encapsulated PCM bags were attached to the back of a PV and were installed in Paderborn, Germany. Temperature, current, voltage and MPP were recorded and it was found over a 25 day period the PCM minimised daily temperature fluctuation of the surface of the PV compared to a system without PCM. Also, the non-improved PCM provided lower operating temperatures of a PV module initially although when melting occurs the improved PCM regulated the temperature for 5.5 hours compared to non-improved PCM.

Full scale outdoor experiments of the use of PCM to regulate the temperature of a PV system were undertaken in Dublin, Ireland and Vehara, Pakistan (Hasan et al., 2014a). Three 65W PV, as in Fig. 18, were used in the experiment where one served as a reference and the other two were PV-PCM systems with a eutectic mixture of capric-palmitic and salt hydrate, respectively.

Fig. 18. Experimental set-up of PV-PCM systems, location of thermocouples and attachment of PV to PCM container (Hasan et al., 2014a)

Fig. 19. Surface temperatures of reference PV and PV-PCM systems measured in (a) Dublin and (b) Vehari (Hasan et al., 2014a)

The results were compared at peak instantaneous temperature of the reference PV. Capric:palmitic PV-PCM system regulated the PV by 7 °C and the PV-PCM system with salt hydrate maintained a temperature reduction of 10 °C compared to the reference PV as illustrated in Fig. 19(a). This trend was also shown in Vehari, where capric:palmitic maintained a temperature reduction of 10 °C and salt hydrate 21 °C when compared to the reference PV as shown in Fig. 19(b).

Lo Brano et al. (2013; 2014) developed a one-dimensional finite difference model that simulated the variable temperature profile of PV, the temperature change in the PCM and melting fraction of the PCM. In the model first the temperature at each node was calculated then the liquid fraction of the PCM. The simulation was validated using data derived from a full scale experiment in Palermo, Italy illustrated in Fig. 20.

Fig. 20. Encapsulation of PCM and experimental installation (Lo Brano et al., 2013)

The phase change temperature of the PCM was 26 ºC – 28 ºC and experimental results were in agreement with simulations. The investigation demonstrated that discharging at night is essential to PCM performance. At night, it was found the PCM would not discharge fully as the temperature of the PCM is higher than the solidification temperature therefore it was unable to solidify so no latent heat storage capacity was available for the next day.

Using computational fluid dynamics (CFD) a 2D model was developed assessing the heat and mass transfer of PCM located in the back of a PV panel (Biwole et al., 2013). An indoor validation experiment was conducted using the set-up shown in Fig. 21.

Fig. 21. Experimental equipment (1) PCM, (2) heat exchangers, (3) PCM intake valve, (4) structure system, (5) flowmeter, (6) air intake valve, (7) metal stand and (8) insulation material (Biwole et al., 2013)

The dimensions of the cavity containing the PCM was 167mm x 167mm x 30mm. Heat plates were positioned on each side of the tank to simulate the heating from a solar panel. The PCM used was RT25. The PCM was shown to maintain the PV temperature under 40 ºC for 80 minutes of constant exposure at 1000W/m2, compared to 5 minutes without PCM.

Browne et al. (2016) investigated a novel PV/T/PCM system which generated electricity, stores heat and pre-heats water under the climatic conditions of Dublin, Ireland. The system combines a PV module with a thermal collector; in which heat is removed from a heat exchanger embedded in PCM through a thermosyphon flow. System performance was compared against a) the same system without PCM, b) the same system without heat exchanger or PCM, and c) the PV module alone as shown in Fig. 22. It was shown that the temperature attained by the water was approximately 5.5 ºC higher when compared to a PV/T system with no PCM. PCM are shown to be an effective means of storing heat for later heat removal in a PV/T system.

- (b)

(c)                                                                 (d)

Fig. 22 Schematic illustrating the design of (a) System 1(PV/T/PCM) (b) System 2 (PV/T) (c) System 3 (PV with container) and (d) System 4 (PV) in the experiment

An experimental study compared the performance of a Canadian Solar CS6P-M PV panel with and without the PCM RT28HC (Stropnik et al. 2016). It was found the maximum experimental temperature difference of PV and PV-PCM was 35.6 °C with an average increase in PV efficiency of 1.7% as shown in (Fig. 23).  The experimental data was used to validate a model which showed an increase of 7.3% in power production of the PV/PCM system compared to just the PV over a period of one year.

Fig. 23 Schematic of heat transfer in the PV-PCM panel

Preet et al., (2017), have investigated the thermal and electrical performance of the three different systems, as shown in Fig. 24, which include a) a convectional PV panel, b) water based photovoltaic/thermal system (PV/T) with double absorber plate and c) water based photovoltaic/thermal system with PCM RT-20. The mass flow rate was varied and its effect on the electrical and thermal efficiency was analysed. It was found that the inclusion of thermal application in PV can provide a system with increased thermal and electrical output. The maximum temperature reduction of 47% with water based PV/T and 53% with water based PV/T-PCM has been achieved at mass flow rate of 0.031 kg/sec of water. It has been observed that the Maximum increment in electrical efficiency was 10.66 with water based PV/T and 12.6 with water based PV/T-PCM (Preet et al,. 2017).

(a)

(b)

Fig. 24. Schematic illustrating the design of (a)Water based PV/T system (b) Water based PV/T-PCM system

The integration of PCM has also been shown to act as a passive cooling method for photovoltaics in the extremely hot and high insolation environment of United Arab Emirates (UAE) (Hasan et al., 2017). A PV/PCM system was monitored for a one year period.  Results were used to validate a heat transfer model employing an enthalpy-based formulation. The PV-PCM system enhanced the PV annual electrical energy yield by 5.9% in there climatic conditions. Fig. 25, present the energy flow in the PV-PCM system.

Fig. 25. Schematic of the heat transfer model of PV-PCM

### Thermal Management of Concentrating PV (CPV) using PCM

PCM was first used in CPV in a patent in 1993, (Horne, 1993) where the concept of PCM to protect PV cells in a solar concentrator from excessive temperatures was included. The selected PCM melted at a temperature higher than the normal operating temperature range of the PV cells, but less than the temperature at which the PV cells suffer thermal damage.  Further to work on asymmetric compound parabolic photovoltaic concentrators (ACPPVC) (Mallick et al, 2004, Wu, 2009;  Wu and Eames, 2011) which concentrate significant diffuse solar radiation, Wu et al. designed and constructed an ACPPVC integrating PCM RT27 to the back, as in Fig. 26, to regulate the temperature. The system had a concentration ratio of 2 (Wu, 2009).

| (a) | (b) |
| --- | --- |

Fig. 26. ACPPVC integrated with PCM (a) schematic and (b) photo (Wu, 2009)

At an incident solar irradiance of 672 W/m2 and incident angle of 0 º the temperature of the solar cells of the ACPPVC-55/ PCM was reduced by 18 ºC during the phase change compared to ACPPVC-55 system. The predicted electrical conversion efficiency of the ACPPVC-55/PCM is 10 %. Further tests under various incident angles and solar irradiance intensities found that at solar irradiance intensities of 280 W/m2 the PV temperature was reduced by 7ºC for approximately 10 hours when using RT27 with an increase of 5 % in the electrical conversion compared to ACPPVC-55.

A V-trough CPV system was investigated where a metal-wax composite PCM was used to regulate PV temperature (Maiti et al., 2011), illustrated in 27. Paraffin wax with a phase change range of 56 ºC - 58 ºC was located on the rear of the module. To enhance low thermal conduction in the PCM, aluminium lathe turnings were embedded. Indoor experiments maintained the temperature between 65 ºC - 68ºC for 3 hours at 2300 W/m2 generated using a solar simulator. The temperature of the PV rose to 90ºC in absence of the PCM. Outdoor experiments showed maximum temperatures of between 78 ºC – 80 ºC in the absence of PCM and 64 ºC - 65 ºC with the PCM as a temperature regulation mechanism though this was at a lower solar irradiance intensity of 1982 W/m2 generated by the initial radiation being concentrated in the V-trough.

Fig. 27. V-trough PV system with integrated metal-wax composite PCM (Maiti et al., 2011)

PCM was further investigated theoretically in a CPV system with concentration of 2 suns and was found to be a technically feasible option for suitable sites with high solar concentration (Lillo-Bravo et al., 2011). Twelve sites were chosen for which a CPV/PCM model was simulated under the environmental conditions of each site. Four phase change temperatures were tested, 25 ºC, 35 ºC, 45 ºC, and 55 ºC. It was found that a concentrated system located in Cairo generated 37.2 % more electrical power than a system without PCM, followed closely by Cairo and London produced the least increase in energy of 18 %. The improvement in efficiency was closely linked with the location of installation and the possibility of solar concentration. It should be noted that this model has not yet been validated.

A hybrid CPV-thermoelectric concept integrated PCM as a store of heat generated by a concentrator as in Fig. 28 (Li,. Y, et al., 2013). A series of calculations based on conversion efficiencies of the PV cell and thermoelectric generator suggest system efficiency improved by 30 % when a high-grade cold energy storage system was added.

Fig. 28. Schematic of PV-thermoelectric power system with the use of PCM as TES (Li et al., 2013)

A two-axis concentrating photovoltaic system thermally regulated by PCM was fabricated and tested outdoors in Pakistan as in Fig. 29 (Sarwar, 2012).

Fig. 29. Concentrating PV system with PCM and fins for cooling (Sarwar, 2012)

Numerous PCM were tested and it was found that selection of the optimum PCM depends on application. Lauric acid was found to reduce the peak PV temperature by 22 ºC and palmitic found a maximum temperature difference of 19.5 ºC. However, palmitic has a higher heat of fusion and temperature regulation capabilities.

### Hybrid Photovoltaic/Thermal/Phase Change Material Systems

A photovoltaic/thermal (PV/T) system converts solar radiation into electrical and thermal energy. The incorporation of thermal collectors with PV technology can increase the overall efficiency of a PV system as thermal energy is produced as a by-product of the production of electrical energy. Passive cooling is a buoyancy-driven and the use of an external mechanical system is known as active or forced cooling. The removal of heat from the PV occurs immediately once a temperature differential develops between the PV and the transfer fluid. There are two options for disposal of excess thermal energy collected from the PV; transfer of heat to air or water. The pre-heated fluid is diverted directly to an end application such as warm water or air which can be used for purposes such a space heating or domestic hot water requirements.

Several review papers have been published in the use of PCM as a thermal management technique of PV, emphasising the growing body of literature in the area (Browne et al., 2015a;  Ma et al., 2015). Yin et al. 2013, have presented a PV/T system with integrated heat storage using PCM as shown in Fig. 30. Water is directly heated by thermal energy from the PV; it flows via a thermosyphon through the PCM which will store the heat from the water for later applications.

Fig. 30. Cross section of residential PV/T system  (Yin et al., 2013)

The water reached a temperature which was found to be useful in domestic applications. In ambient temperatures heat captured by the PCM prevented it entering the domestic dwelling and significantly reducing the cooling load.

A one-dimensional energy balance model of a PV/T/PCM (PV/Thermal/PCM) system was simulated as shown in Fig. 31 (Malvi et al., 2011). The model is divided up into a series of nodes; at each of which a temperature is calculated.  Investigations into water flow rate, PCM thickness, PCM melting point and PCM conductance were carried out using the model. The most effective flow rate for PV cooling is approximately 10 l/h; however, this is undesired for water heating applications as the water outlet temperature is reduced. The optimum thickness of PCM was found to be 0.03 m which increases the PV efficiency by approximately 6.5 %. The temperature range changes throughout the year which emphasises the issue of having to change the melting temperature of the PCM throughout the year. The PV output increases by 3 % if the conductance of the PCM is increased by a factor of 10. New PCM with improved thermal conductivities would be required. The electrical output of the PV/T/PCM system was shown to increase by 9 % when compared to a PV system only (Malvi et al., 2011).

Fig. 31. Schematic of simulated system (Malvi et al., 2011)

The addition of PCM in PV/PCM systems has been shown to lower the operating temperature of PV by removing excess heat (Malvi et al., 2011).

A numerical simulation of BIPV/T-PCM vented and un-vented Trombe-Michel walls, illustrated in Fig. 32, was validated via comparison with the experimental results from a BIPV/T system in this case ventilation wall is part of PV/T collector system (Aelenei et al., 2013). The air cavity allows for ventilation and each system has been investigated with and without it. The results of non-ventilation showed the PCM caused a decrease of 7 ºC when comparing the temperature of the air cavity due to the latent heat storage of the PCM. However, ventilation of the systems showed a much lower difference of 2 ºC (BIPV/T-PCM 28 ºC and BIPV/T 30 ºC) suggesting that heat is removed by ventilation rather than to the PCM.

Fig. 32. Simulated BIPV/T system with integrated PCM wallboard (Aelenei et al., 2013)

The investigations show that the effect of the storage in the PCM reduces the PV temperature and thus raises the PV efficiency.  However, during winter conditions the storage of heat causes adverse effects as the heat transfer from air cavity to the interior of the room is reduced (Aelenei et al., 2013).  In a numerical and experimental study of this system the maximum electrical and thermal efficiencies reached were 10 % and 12 %, respectively (Aelenei et al., 2014).

### Use of Sensible Heat Storage in PV applications

In sensible heat storage, thermal energy is stored/released by raising/decreasing the temperature of a storage material. It is a pure physical process without any phase change during charge or discharge. Therefore, the amount of heat stored depends on the product of the mass, specific heat, and temperature variation of the storage material. In addition to the density and the specific heat of the storage material, other properties are also important for sensible heat storage: operating temperature, thermal conductivity and diffusivity, chemical and thermo-chemical stability of the materials and the cost, (Gil et al., 2010).

The incorporation of PV modules in a building can create additional functionality for the PV as wall and roofing elements, canopies and/or shading devices that replace “conventional” building materials; this is referred to as building integrated PV (BIPV).

Elevated operating temperatures arise as buildings can thermally insulate incorporated PV. A full-scale assessment of BIPV modular temperature for six different types of PV has been analysed by Maturi et al. (Maturi, Belluardo, Moser, & Del Buono, 2014). It was found that copper indium gallium selenide (CIGS) PV operate at a temperature 8ºC higher than the operating temperature of mono crystalline potentially affecting the efficiency by 3%, while the environmental conditions was kept constant at 1000W/m2. The thermal behavior of various PV facades have been investigated by (Krauter et al., 1999). The experimental results showed that the thermal-insulating building facade increased PV cell temperature by 20.7K causing a 9.3% loss of electrical yield compared to an actively cooled PV cell. Another solution to limit the rise of the temperature of system is to combine with a solar water heating collector and PV cells using photovoltaics/thermal (PV/T) collector. Therefore, the recovered energy (heat) can be used for the heating system as well as for the domestic hot water by a flow of glycol water at the back side of PV modules (poly-crystalline in our study). The annual photovoltaic cell efficiency for Mâcon, France, showed a BIPV system to operate a cell efficiency of 6.8%, which is equivalent to a 28% lower efficiency than to a non-integrated PV system, (Fraisse, Ménézo, & Johannes, 2007).

In BIPV/thermal (BIPV/T) systems heat is extracted from behind the PV panel through a convective air or water flow that can be forced or natural. The behavior of forced air circulation and natural convection were numerically designed for a BIPV installation on a hotel building in southern China (Chow, Hand, & Strachan, 2003). The results confirm that the difference in electricity output between using forced or natural convection was less than 1% annually. It was also shown that natural convection demonstrated better in subtropical climates due to the effectiveness in space heat gain reduction compared to BIPV systems. The application of using fins and a thin metallic sheet midway between the PV and wall can enhance the overall performance and heat transfer from the PV to the air circulating in a photovoltaic/thermal (PV/T) solar collector (Tonui & Tripanagnostopoulos, 2007).

The development of the performance of a photovoltaic water pumping system using spraying the water over the photovoltaic cells was investigated by (Abdolzadeh & Ameri, 2009). This was achieved by flowing water to the front or back surface of a PV in order to remove the heat from the system. It was found that the temperature of the PV was reduced by 23% when water was sprayed over the front surface of the PV, while giving an increase in the mean PV cell efficiency of 3.26% (Abdolzadeh & Ameri, 2009).

Zondag et al.(Zondag, de Vries, van Helden, van Zolingen, & van Steenhoven, 2003) studied the performance of four groups of PV/T systems of nine different designs; (a) sheet-and-tube PVT collectors, (b) channel PV/T collectors (c) free flow PV/T collectors and (d) two absorber PV/T-collectors. The comparison of the thermal and electrical efficiencies is presented in addition to the yearly yield of hot water. It was found that a sheet-and-tube PV/T collectors design was the best option due to the feasibility of manufacturing process. However, it was not the most efficient when compared to the other systems. Wu et al. (Wu, Zhang, Xiao, & Guo, 2011), modelling a PV/T system using water as the transfer fluid, found that the thermal and electrical efficiencies could reach 63.65% and 8.45% respectively.

2.2.6	Use of Thermochemical energy storage

Thermochemical energy storage is not usually used along with PV systems but rather with concentrated solar power (CSP) plants. CSP plants are generally coupled with conventional fuels and utilize thermal energy storage (TES) to overcome the intermittency of solar energy.  Different from sensible or latent heat storages, thermochemical TES technology is based on reversible chemical reactions, which are characterized by a change in the molecular configuration of the reactants (combination or decomposition). Solar heat is used to drive an endothermic chemical reaction, and then stored in the form of chemical potential. During the discharge, the stored heat can be recovered by the reversed exothermic reaction, sometimes by adding a catalyst, Pelay et al, 2017.

The advantages of thermochemical storage rely on their high energy density (up to 10 times greater than latent storage and the indefinitely long storage duration at ambient temperature. As a result, it is a very attractive option and fairly economic competitive Metallic hydrides, carbonates system, hydroxides system, redox system, ammonia system and organic system can be used for thermo- chemical heat storage at medium or high temperatures (300–1000 °C), Pardo et al., 2014.

Beyond choosing the suitable TES technology for CSP application, the TES system must be coupled in a proper way with the power generating cycle (e.g., Rankine cycle). Pertinent concepts that integrate TES system and the power generating cycle remain as one of the key issues for the actual application of TES technology, Pelay et al., 2017.

# Integration of PV- Energy Storage in buildings

The solar thermal energy stored in the PCM in the BIPV can provide a heating source for the Heat Pump (HP) to provide high temperature heat for domestic heat supply. Underfloor heating is an efficient and economical method for home heating compared which can use the low temperature heat supply from HPs. Research on using heat pump with integrated phase change materials layer for underfloor heating has shown that this can save operating cost and improve the thermal comfort (Huang and Hewitt, 2015). A research of collecting low temperature heat from BIPV-PCM for HP evaporator heat supply and then providing high temperature heat for domestic heat supply is carried out by (Huang,.2016). The supplied heat by HP is used for PCM layered underfloor heating system.  The schematic diagram in Fig. 33 shows the process of extracting solar heat from BIPV-PCM through the cycling cupper pipes and used for underfloor heating system (Huang, 2016). HP can extract the low temperature solar thermal energy stored in the BIPV-PCM system and provide high temperature hot water for underfloor heating system in the residential buildings. PCMs incorporated into solar energy thermal storage or underfloor heating system in buildings may be suitable for absorbing solar energy directly or store the heat from HP during off peak time.  One of the main barriers for this application is how to improve the low thermal conductivity of the PCM in order to achieve a quick thermal response with longer thermal store performance in the buildings. Therefore, a comprehensive system has been investigated to use PCMs for solar energy storage in the domestic buildings (Huang, 2016).

Fig. 33. A schematic diagram of using HP for supplying heat for PCM layered underfloor heating system and extracting solar heat from BIPV-PCM through the cycling cupper pipes (Huang, 2016)

In order to compare the effect of PV temperature regulation and the energy management capacity, the BIPV-PCM-HP system the three cases shown in Fig. 34 have been studied.

Fig. 34. Three BIPV-PCM-HP system operation cases for simulation (Case A: RT27 PCM only with metal fins; Case B: Augmented copper pipes in the PCM without cycle; Case C: Augmented copper pipes with fluid cycle from HP) (Huang, 2016)

A numerical simulation model has been validated and used to analysis the thermal performance of PCM layered underfloor heating under difference heating modes. Different layout of the under-floor heating pipes with PCMs as floor mass material were analysed with dissipated heat from BIPV for indoor environment heating process.  The thermal performance of heating system under realistic diurnal temperature boundary conditions was predicted.   An illustrative example of this analysis is shown in Figure 35.

Fig. 35. Predicted thermal isotherms for the cross-section of floor structure of 70 mm concrete filling and 200 mm pipe spacing under 40 °C water at heating process (Huang and Hewitt, 2015)

# The potential and the Role of Energy Storage for PV and future energy development

Incentives from supporting policies, such as feed-in-tariff and net-metering, act will gradually phase out with rapid increase installation decreasing cost of PV modules and the PV intermittency problem. The PV self-consumption becomes more attractive because the self-consumed electricity generally has more economic values than the exported electricity (Castillo-Cagigal et al., 2011; Luthander et al., 2015). Under the existence of intermittent solar resource, Electrical energy storage (EES) can continue to maintain the stability of the power grid in an effective and economically feasible manner. Further investigation with detailed analysis and optimal solutions are needed to simultaneously determine the energy storage method, the storage capacity and the operation strategy.

## Potential demanding of Energy storage on Electric Vehicles

China is to set a deadline for the end of sales of conventional internal combustion engine vehicles to accelerate the move towards greater electric vehicle (EV) use in the country. The sales of “new energy vehicles” (fully electric or plug-in hybrid EVs) should reach 2mn by 2020 and account for over 20% of total vehicle production and sales by 2025. The UK and France in July 2017 both countries will ban conventional passenger vehicles by 2040. India has also announced that it is looking to ban conventional vehicles by 2030. This rapid move to electric vehicles (EVs) needs to accelerate the infrastructure and support which will allow the rollout to go further and faster. However, the full integration of electric vehicles into energy infrastructure is a challenge. This will leave huge potential market on the PV integrated cars with energy storage capacity (BBC report, 2017).

## Energy storage for large-scale PV system

A forecast of global PV generation shown in figure 36 (IEA, 2014) predicts a sharp growth in PV capacity with PV providing 16% of global electricity by 2050. Such an increase will bring economic and technical challenges to integrate solar power into the grid due to the diurnal and stochastic nature of solar energy. Electrical energy storage (EES) have explored in improvements and services to power systems, however more work needs to be done in smart grid as a key component in modern power systems developments for secure and reliable operation. Although the EES market is expanding in, there is a lack of standards and methods for comparing the efficiency and performance of EES in a PV system.

Fig.36. Trends for global power generation of solar PV system and share of total electricity generation [IEA, 2014]

### Technical standards for PV system performance

Some technical standards for PV system performance, design requirements and capabilities have been created, however interconnection policies that consider the benefits of both distributed generation owners/operators, and distribution companies are required to address major problems such as communication, control, short-circuit protection, electrical isolation and surge protection (Lai, et al., 2017). In the future, the standards for EES in the PV system need to be defined.

### Stability issues

Large scale PV generation can reduce generation cost in the industry and could avoid the effect of uncertain carbon pricing policies and non-deterministic future fossil fuel prices, but it has issues with the cost related to creating surplus energy either storing it or transmitting it to the external grid. The high uncertainty and fluctuation from the PV power cause poor power quality, Volt/VAr control issues. The stability problems and control methods of PV generators for secure and reliable operation are the main focus in many research work. The pinning reserve and dispatching strategies for energy storage could play important part in the stability of future power system with high PV penetration (Shah et al., 2015). (Tamimi et al., 2013) investigate the system stability at different PV penetration levels at up to 2GW on three cases: the centralised farms with voltage regulation capacities, centralised farms without voltage regulation capacities and the distributed units. It concludes distributed solar PV generators are superior than centralised solar PV generators, i.e. solar farms. Although some work has been carried out on analysis of the transient stability and small signal stability for power system, additional research needs to be done to assess with different size and capacities of the PV power generation system with different penetration levels.

The system stability improvement has also been studied on a 10 MW residential PV system by using methods to reduce the fluctuation in the power generation (Omran et al., 2011), (1) EES utilisation; (2) dump loads utilisation; and (3) PV power curtailment. The consequence with PV output power stability improvement is a revenue loss. The combine use of EES and power curtailment is found to be the most economical solution.

## Dynamic ambient forecasting for PV generation and EES

PV performance can be highly influenced by external factors such as ambient temperature, the cloud shape, density, size and the speed of cloud cover (Katiraei and Aguero, 2011). Incident solar radiation and ambient conditions forecasting accuracy has a tremendous influence to the PV and EES systems planning and operation. The accurate assessment of solar irradiance available at a particular time instance is not deterministic problem due to the intermittent and dynamic nature of solar resource. Therefore, forecasting and prediction methods are needed to be developed to provide better estimate of the solar irradiance resource and surrounded ambient conditions.

A comprehensive review of the theoretical forecasting methodologies for both solar resource and PV power has provided by Wan et al., 2015. A number of forecasting models have been developed for solar resources and power output of PV plants at utility scale level in the past few years, but due to the chaotic nature of weather systems and the uncertainties involved in atmospheric conditions such as temperature, cloud amount, dust and relative humidity, precise solar power forecasting can be extremely difﬁcult. Forecasting models of PV power system are divided in to four classes: statistical models, AI-based models, physical models and hybrid models. Statistical approaches are based on historical data which is used as inputs for the statistical model and the variable to be predicted. A novel multi-time scale data-driven forecast model based on spatio-temporal (ST) and autoregressive with exogenous input (ARX) is developed for a solar irradiance forecast model. Simulation results that use the real solar data of PV sites in California and Colorado demonstrate the proposed model can derive satisfactory results for 1 h and 2 h look-ahead times (Yang et. al., 2015). AI techniques due to the high leaning and regression capabilities, have been widely employed for modelling and prediction of solar energy. Physical models utilize solar and PV models to generate solar irradiance/power prediction. The generalized framework of physical approaches is shown in Fig. 37. In practice, various hybrid solar prediction methodologies can be proposed to integrate the merits of different types of prediction models which can offer forecasting of hourly global horizontal solar radiation and forecasting of a high resolution solar radiation database.

Fig. 37. Typical framework of physical approaches for PV power forecasting.

## Summary of future energy development

It has become a major point of interest and possible bone of contention that in a future near- decarbonised electricity network i.e. 80% reduction in emissions by 2050, will enable a low carbon space heating market through the deployment of electrically-driven heat pumps. It is recognised that such a vision will place a significant extra burden on the existing electricity network. This will be especially true of the low voltage network at Distribution System Operator level e.g. 11kV or below but as such systems do not operate in isolation, challenges will also be seen at the Transmission Operator level as well. This may be further complicated by the perceived rapid deployment of Electric Vehicles well before 2050.

Demand Side Management in its many shapes and forms becomes part of the solution. The Thermal Mass of Buildings can be deployed to understand duration of off-times after a period of heating while maintaining thermal comfort. Understanding End User Behaviour is critically important in this process as it is believed that the smart learning of the behaviour of the building can be subtly tailored to end-user needs. Selective fabric retrofits and selective occupancy controls can adjust these parameters further giving an element of control to the end-user while satisfying electricity network operator needs.

The deployment of energy storage is also an option. Heat Pumps and Water Storage (or sensible heat) trials and experiments reveal both noticeable heat losses from the tanks and large sizes of tanks for significant scales of time management. Finding the space for larger tanks in typical UK housing types would be challenging. However, aggregation of large numbers of these units that are electricity network controlled (at the distribution operator level for example) has the potential to reduce individual storage volumes thus potentially realising greater social acceptance. Novel materials e.g. phase change or thermochemical will deliver further reductions in size and low temperature thermal networks may upgrade heat pump performance and increase energy efficiency. Hybrid Heat Pumps or gas driven types (adsorption or absorption) will utilise existing gas networks that may be increasingly decarbonised with biogas or hydrogen deployments.

- Conclusion

Domestic and local Photovoltaic (PV) system deployment would provide electricity network relief when accompanied by energy storage. Thermal storage will satisfy thermal comfort needs when operating with heat pumps while battery deployment may operate with electric vehicles and/or electric heat pumps at times of local grid congestion. Such batteries and electric vehicles will also become demand side response units in their own right, the latter whether you are at home or not, with Vehicle-to-Grid technology.

The combinations of such technologies will address many of the emerging low voltage network problems as we attempt to decarbonise our energy use. The low voltage network has become the focus of such challenges but sees little investment. The rates of penetration of the technologies is unknown and their performance under real end-use conditions is also less well understood. The electricity network investment avoidance costs are not yet proven.

Acknowledgements

The authors would like to acknowledge the European Union’s Horizon 2020 research and innovation programme under grant agreement No 657466 (INPATH-TES) and the ERC starter grant (6XXXX).  Further to this they would like to acknowledge support from Science Foundation Ireland.

References

Abdolzadeh, M. & Ameri, M., 2009. Improving the effectiveness of a photovoltaic water pumping system by spraying water over the front of photovoltaic cells. Renewable Energy, 34, 91-96.

Aelenei, L., Pereira, R. & Goçalves, H., 2013. BIPV/T versus BIPV/T-PCM: A numerical investigation of advanced system integrated into Solar XXI building façade.  2nd International Conference on Sustainable Energy Storage, Trinity College, Dublin, Ireland.

Aelenei, L., Pereira, R., Goçalves, H. & Athienitis, A., 2014. Thermal Performance of a Hybrid BIPV-PCM: Modeling, Design and Experimental Investigation. Energy Procedia, 48, 474-483.

Agyenim, F., Hewitt, N., Eames, P. & Smyth, M., 2010. A review of materials, heat transfer and phase change problem formulation for latent heat thermal energy storage systems (LHTESS). Renewable and Sustainable Energy Reviews, 14, 615-628.

Al-Hallaj, S. & Selman, J. R., 2005. Thermal management of battery systems. United States of America patent application.

Ames, W. D., 1983. Photovoltaic devices for producing electrical and heat energy. United States of America patent application.

Baker, J. (2008). New technology and possible advances in energy storage. Energy Policy, 36(12), 4368–4373. https://doi.org/10.1016/j.enpol.2008.09.040

Balcombe, P., Rigby, D., & Azapagic, A. (2015). Energy self-sufficiency, grid demand variability and consumer costs: Integrating solar PV, Stirling engine CHP and battery storage. Applied Energy, 155, 393–408. https://doi.org/10.1016/j.apenergy.2015.06.017

Battke, B., Schmidt, T.S., Grosspietsch, D., Hoffmann, V.H., 2013. A review and probabilistic model of lifecycle costs of stationary batteries in multiple applications. Renew. Sustain. Energy Rev. 25, 240–250. doi:10.1016/j.rser.2013.04.023

Bakelli, Y., Arab, A.H., Azoui, B., 2011, Optimal sizing of photovoltaic pumping system with wter tank storage using LPSP concept, Solar Energy, 85, 288-294

BBC report, 2017. Solar challenge race begins in Australia [online], http://www.bbc.co.uk/news/world-australia-41541243?utm_source=Energy+News+Update+latest&utm_campaign=d619834a5f-EMAIL_CAMPAIGN_2017_10_09&utm_medium=email&utm_term=0_16d8fa61f5-d619834a5f-149256693. [accessed 11th Oct 2017]

Biwole, P. H., Eclache, P. & Kuznik, F., 2013. Phase-change materials to improve solar panel's performance. Energy and Buildings, 62, 59-67.

Browne, M., Norton, B. & McCormack, S., 2015a. Phase change materials for photovoltaic thermal management. In Review Renewable and sustainable energy reviews.

Browne, M., Norton, B. & McCormack, S. 2016. Heat retention of a photovoltaic/thermal collector with PCM, Solar Energy, Volume 133, Pages 533-548, ISSN 0038-092X.

Cabeza, L. F. (2012). Thermal Energy Storage. In Comprehensive Renewable Energy (pp. 211–253). https://doi.org/10.1016/B978-0-08-087872-0.00307-3

Cabeza, L. F., Castell, A., Barreneche, C., De Gracia, A. & Fernández, A. I., 2011. Materials used as PCM in thermal energy storage in buildings: A review. Renewable and Sustainable Energy Reviews, 15, 1675-1695.

Castillo-Cagigal, M., Caamaño-Martín, E., Matallanas, E., Masa-Bote, D., Gutiérrez,  A., Monasterio-Huelin,  F., Jiménez-Leube, J., 2011.  PV self-consumption optimization with storage and Active DSM for the residential sector, In Solar Energy, Volume 85, Issue 9, Pages 2338-2348, ISSN 0038-092X.

Cellura, M. C., Branco, G. L., Marvaglia, V. & Orioli, A., 2008. A photovoltaic panel coupled with a phase changing material heat storage system in hot climates.  25th Conference on Passive and Low Energy Architecture, Dublin.

Chen, H., Cong, T.N., Yang, W., Tan, C., Li, Y., Ding, Y., 2009. Progress in electrical energy storage system: A critical review. Prog. Nat. Sci. 19, 291–312. doi:10.1016/j.pnsc.2008.07.014

Chow, T. T., Hand, J. W. & Strachan, P. A., 2003. Building-integrated photovoltaic and thermal applications in a subtropical hotel building. Applied Thermal Engineering, 23, 2035-2049.

Dinçer, İ., & Rosen, M. A. (2010). Thermal Energy Storage (TES) Methods. In Thermal Energy Storage (pp. 83–190). https://doi.org/10.1002/9780470970751.ch3

Energy Storage Association, 2017, www.electricitystorage.org, [accessed 13th Oct 2017]

Feng, X., Gooi, H.B., Chen, S., 2015. Capacity fade-based energy management for lithium-ion batteries used in PV systems. Electr. Power Syst. Res. 129, 150–159. doi:10.1016/j.epsr.2015.08.011

Fraisse, G., Ménézo, C. & Johannes, K., 2007. Energy performance of water hybrid PV/T collectors applied to combisystems of Direct Solar Floor type. Solar Energy, 81, 1426-1438.

Gil, A., Medrano, M., Martorell, I., Lázaro, A., Dolado, P., Zalba, B., Cabeza, L.F., 2010. State of the art on high temperature thermal energy storage for power generation. Part 1-Concepts, materials and modellization. Renew. Sustain. Energy Rev.

Günther, E., Hiebler, S., Mehling, H. & Redlich, R., 2009. Enthalpy of Phase Change Materials as a Function of Temperature: Required Accuracy and Suitable Measurement Methods. International Journal of Thermophysics, 30, 1257-1269.

Hadjipaschalis, I., Poullikkas, A., & Efthimiou, V. (2009). Overview of current and future energy storage technologies for electric power applications. Renewable and Sustainable Energy Reviews. https://doi.org/10.1016/j.rser.2008.09.028

Hanser, P., Lueken, R., Gorman, W., Mashal, J., 2017. The practicality of distributed PV-battery systems to reduce household grid reliance. Util. Policy 46, 22–32. doi:10.1016/j.jup.2017.03.004

Hasan, A., McCormack, S., Huang, M. & Norton, B., 2014a. Energy and Cost Saving of a Photovoltaic-Phase Change Materials (PV-PCM) System through Temperature Regulation and Performance Enhancement of Photovoltaics. Energies, 7, 1318-1331.

Hasan, A., McCormack, S. J., Huang, M. J., Norton, B., 2010b. Evaluation of phase change materials for thermal regulation enhancement of building integrated photovoltaics. Solar Energy, 84, 1601-1612.

Hasan, A., Sarwar, J., Alnoman, H., Abdelbaqi, S., 2017. Yearly energy performance of a photovoltaic-phase change material (PV-PCM) system in hot climate. Solar Energy 146, 417–429.

Ho, C. J., Chou, W.-L. & Lai, C.-M., 2015. Thermal and electrical performance of a water-surface floating PV integrated with a water-saturated MEPCM layer. Energy Conversion and Management, 89, 862-872.

Ho, C. J., Jou, B.-T., Lai, C.-M. & Huang, C.-Y., 2013. Performance assessment of a BIPV integrated with a layer of water-saturated MEPCM. Energy and Buildings, 67, 322-333.

Ho, C. J., Tanuwijava, A. O. & Lai, C.-M., 2012. Thermal and electrical performance of a BIPV integrated with a microencapsulated phase change material layer. Energy and Buildings, 50, 331-338.

Hoppmann, J., Volland, J., Schmidt, T.S., Hoffmann, V.H., 2014. The economic viability of battery storage for residential solar photovoltaic systems - A review and a simulation model. Renew. Sustain. Energy Rev. doi:10.1016/j.rser.2014.07.068

Horne, W. E., 1993. Solar energy system.

Huang, M. J., Eames, P. C. & Hewitt, N. J., 2006a. The application of a validated numerical model to predict the energy conservation potential of using phase change materials in the fabric of a building. Solar Energy Materials and Solar Cells, 90, 1951-1960.

Huang, M. J., Eames, P. C. & Norton, B., 2000. Chapter 454 - The Application of Computational Fluid Dynamics to Predict the Performance of Phase Change Materials for Control of Photovoltaic Cell Temperature in Buildings. World Renewable Energy Congress VI. Oxford: Pergamon.

Huang, M. J., Eames, P. C. & Norton, B., 2004. Thermal regulation of building-integrated photovoltaics using phase change materials. International Journal of Heat and Mass Transfer, 47, 2715-2733.

Huang, M. J., Eames, P. C. & Norton, B., 2006b. Comparison of a small-scale 3D PCM thermal control model with a validated 2D PCM thermal control model. Solar Energy Materials and Solar Cells, 90, 1961-1972.

Huang, M. J., Eames, P. C. & Norton, B., 2006c. Phase change materials for limiting temperature rise in building integrated photovoltaics. Solar Energy, 80, 1121-1130.

Huang, M. J., Eames, P. C., Norton, B. & Hewitt, N. J., 2011. Natural convection in an internally finned phase change material heat sink for the thermal management of photovoltaics. Solar Energy Materials and Solar Cells, 95, 1598-1603.

Huang, M.J., and Hewitt, N.J., (2015). The Energy Conservation Potential of Using Phase Change Materials as Thermal Mass Material for Air Source Heat Pump Driven Underfloor Heating System in a Building, Book chapter, Progress in Clean Energy, Volume 2: Novel Systems and Applications, ISBN 978-3-319-17030-5.

Huang, M. J., Eames, P.C. And Norton, B.  , 2007. Comparison of Predictions Made Using a New 3D Phase Change Material Thermal Control Model with Experimental Measurements and Predictions Made Using a Validated 2D Model. Heat Transfer Engineering, 28, 1.

Huang, M.J.,  2016. Phase change materials used for renewable energy storage in domestic buildings, WREC2016. Sep 2017.

Ibrahim, H., Ilinca, A., & Perron, J. (2008). Energy storage systems-Characteristics and comparisons. Renewable and Sustainable Energy Reviews. https://doi.org/10.1016/j.rser.2007.01.023

Ibrahim, H., Beguenane, R., Merabet, A., 2012. Technical and financial benefits of electrical energy storage, in: 2012 IEEE Electrical Power and Energy Conference, EPEC 2012. pp. 86–91. doi:10.1109/EPEC.2012.6474985

IEA, 2014. Technology Roadmap Solar Photovoltaic Energy 2014 edition, International Energy Agency, 2014. [online] https://www.iea.org/media/freepublications/technologyroadmaps/solar/TechnologyRoadmapSolarPhotovoltaicEnergy_2014edition.pdf [accessed 11th Oct 2017]

International Electrotechnical Commission, Commission, I.E., 2011. Electrical energy storage. US Pat. 4,366,216 91. doi:93

Japs, E., Sonnenrein, G., Steube, J., Vrabec, J., Kenig, E. & Krauter, S., 2013. Technical Investigation of a Photovoltaic Module with Integrated Improved Phase Change Material.  28th European Photovoltaic Solar Energy Conference and Exhibition, Paris, France.

Jay, A., Clerc, S., Boillot, B., Bontemps, A. & Jay, F., 2010. Use of Phase Change Material in order to maintain the temperature of integrated PV modules at a reasonable level.  25th European Photovoltaic Solare Energy Conference and Exhibition and 5th World Conference on Photovoltaic Energy Conversion, Valencia, Spain.

Katiraei F, Aguero JR. 2011. Solar PV integration challenges. IEEE Power Energy Mag., 9: 62-71.

Kousksou, T., Bruel, P., Jamil, A., El Rhafiki, T. & Zeraouli, Y., 2014. Energy storage: Applications and challenges. Solar Energy Materials and Solar Cells, 120, Part A, 59-80.

Krauter, S., Araújo, R. G., Schroer, S., Hanitsch, R., Salhi, M. J., Triebel, C. & Lemoine, R., 1999. Combined photovoltaic and solar thermal systems for facade integration and building insulation. Solar Energy, 67, 239-248.

Lai, C.S., Jia, Y., Lai, L.L., Xu, Z., McCulloch, M.D., Wong, K.P., 2017. A comprehensive review on large-scale photovoltaic system with applications of electrical energy storage. Renew. Sustain. Energy Rev. doi:10.1016/j.rser.2017.04.078

Li, Y., Witharana, S., Cao, H., Lasfargues, M., Huang, Y. & Ding, Y., 2013. Wide spectrum solar energy harvesting through an integrated photovoltaic and thermoelectric system. Particuology, 15, 39-44.

Li, Z. & Zhao, J., 2013. Aqueous solution-chemical derived NiAl2O3 solar selective absorbing coatings. 2. Wetting agents and spreading of aqueous solutions on aluminum substrate. Applied Surface Science, 268, 231-236.

Lillo-Bravo, I., Silva-Perez, M. & Larraneta Gomez-Caminero, M., Use of Phase Change Materials in Photovoltaic Modules with Solar Concentration of up to 2x 26th European Photovoltaic Solar Energy Conference and Exhibition, September 2011 Hamburg, Germany. 634-639.

Ling, Z., Zhang, Z., Shi, G., Fang, X., Wang, L., Gao, X., Fang, Y., Xu, T., Wang, S. & Liu, X., 2014. Review on thermal management systems using phase change materials for electronic components, Li-ion batteries and photovoltaic modules. Renewable and Sustainable Energy Reviews, 31, 427-438.

Liu, G., Rasul, M.G., Amanullah, M.T.O., Khan, M.M.K., 2012. Techno-economic simulation and optimization of residential grid-connected PV system for the Queensland climate. Renew. Energy 45, 146–155. doi:10.1016/j.renene.2012.02.029

Lo Brano, V., Ciulla, G., Piacentino, A. & Cardona, F., 2013. On the Efficacy of PCM to Shave Peak Temperature of Crystalline Photovoltaic Panels: An FDM Model and Field Validation. Energies, 6, 6188-6210.

Lo Brano, V., Ciulla, G., Piacentino, A. & Cardona, F., 2014. Finite difference thermal model of a latent heat storage system coupled with a photovoltaic device: Description and experimental validation. Renewable Energy, 68, 181-193.

Luthander, R., Widen, J., Nilsson, D., Palm, J., 2015. Photovoltaic self-consumption in buildings: A review. Applied Energy ´ 142, 80–94.

Ma, T., Yang, H., Lu, L., Peng J., 2015, Pumped storage-based standalone photovoltaic power generation system; Modeling and techno economic optimisation, Appplied Energy, 137, 649-658

Ma, T., Yang, H., Zhang, Y., Lu, L. & Wang, X., 2015. Using phase change materials in photovoltaic systems for thermal regulation and electrical efficiency improvement: A review and outlook. Renewable and Sustainable Energy Reviews, 43, 1273-1284.

Maiti, S., Banerjee, S., Vyas, K., Patel, P. & Ghosh, P. K., 2011. Self regulation of photovoltaic module temperature in V-trough using a metal-wax composite phase change matrix. Solar Energy, 85, 1805-1816.

Makarov, Y. V., Yang, B., DeSteese, J. G., Lu, S., Miller, C. H., Nyeng, P., Viswanathan, V. V. (2008). Wide-area energy storage and management system to balance intermittent resources in the Bonneville power administration and California ISO control areas. Bonneville Power Administration, 127. https://doi.org/10.2172/947483

Mallick, T.K., Eames, P.C., Hyde T.J., Norton B., 2004, The design and expermental characteriation of an asymetric compound parabolic concentratir for building façade integrtion in the U.K., Solar Energy, 77, 319-327.

Malvi, C. S., Dixon-Hardy, D. W. & Crook, R., 2011. Energy balance model of combined photovoltaic solar-thermal system incorporating phase change material. Solar Energy, 85, 1440-1446.

Manolakosi , D., Papadakis, G., Papantonis, D., Kyritsis, S., 2004, A stand-alone photovoltaic power system for remote villages using pumped water energy storage, Energy, 29, 57-69.

Maturi, L., Belluardo, G., Moser, D. & Del Buono, M., 2014. BiPV System Performance and Efficiency Drops: Overview on PV Module Temperature Conditions of Different Module Types. Energy Procedia, 48, 1311-1319.

Mehling, H., & Cabeza, L. F. (2008). Heat and cold storage with PCM: an up to date introduction into basics and applications. Heat and cold storage with PCM: an up to date introduction into basics nd applications. https://doi.org/10.1007/978-3-540-68557-9

Odeh, I., Yohanis, Y.G., Norton, B., 2006, economic viability of photovoltaic water pumping systems, Solar Energy, 80, 850-860.

Oró, E., Barreneche, C., Farid, M. M. & Cabeza, L. F., 2013. Experimental study on the selection of phase change materials for low temperature applications. Renewable Energy, 57, 130-136.

Omran, W.A., Kazerani, M., Salama, M.M.A., 2011. Investigation of methods for reduction of power fluctuations generated from large grid-connected photovoltaic systems. IEEE Trans. Energy Convers. 26, 318–327. doi:10.1109/TEC.2010.2062515

Pardo, P., Deydier, A., Anxionnaz-Minvielle, Z., Rougé, S., Cabassud, M., Cognet, P., 2014. A review on high temperature thermochemical heat energy storage. Renew. Sustain. Energy Rev. doi:10.1016/j.rser.2013.12.014

Parra, D., Gillott, M., Norman, S.A., Walker, G.S., 2015. Optimum community energy storage system for PV energy time-shift. Appl. Energy 137, 576–587. doi:10.1016/j.apenergy.2014.08.060

Pelay, U., Luo, L., Fan, Y., Stitou, D., Rood, M., 2017. Thermal energy storage systems for concentrated solar power plants. Renew. Sustain. Energy Rev. doi:10.1016/j.rser.2017.03.139

Preet, S., Bhushan, B., Mahajan., T., 2017. Experimental investigation of water based photovoltaic/thermal (PV/T) system with and without phase change material (PCM). Sol. Energy 155, 1104–1120.

Santoyo-Castelazo, E., & Azapagic, A. (2014). Sustainability assessment of energy systems: Integrating environmental, economic and social aspects. Journal of Cleaner Production, 80, 119–138. https://doi.org/10.1016/j.jclepro.2014.05.061

Sari, A., Sari, H. & Önal, A., 2004. Thermal properties and thermal reliability of eutectic mixtures of some fatty acids as latent heat storage materials. Energy Conversion and Management, 45, 365-376.

Sarwar, J., 2012. Experimental and Numerical Investigation of Thermal Regulation of Photovoltaic and Concentrated Photovoltaic using Phase Change Materials, PhD Thesis. Dublin Institute of Technology.

Sarwar, J., McCormack, S. J., Huang, M. J. & Norton, B., 2014. Numerical investigation and experimental validation of thermal behaviour of organic phase change materials for temperature regulation enhancement of photovoltaics. International Journal of Heat and Mass Transfer, In review.

Schoenung, S. M., & Hassenzahl, W. (2001). Characteristics and Technologies for Long-vs. Short-Term Energy Storage A Study by the DOE Energy Storage Systems Program SAND2001-0765. Sandia National Laboratories U.S. Dept. of Energy, (March), 46 pp.

Shah, R., Mithulananthan, N., Bansal, R.C., Ramachandaramurthy, V.K., 2015. A review of key power system stability challenges for large-scale PV integration. Renew. Sustain. Energy Rev. doi:10.1016/j.rser.2014.09.027

Sharma, A., Tyagi, V. V., Chen, C. R. & Buddhi, D., 2009. Review on thermal energy storage with phase change materials and applications. Renewable and Sustainable Energy Reviews, 13, 318-345.

Stropnik, R., Stritih, U., 2016. Increasing the efficiency of PV panel with the use of PCM. Renew. Energy 97, 671–679. doi:10.1016/j.renene.2016.06.011

Stultz, J. W. & Wren, L. C., 1978. Thermal performance testing and analysis of photovoltaic modules in natural sunlight, Pasadena, California, Jet propulsion laboratory.

Tanuwijava, A., Ho, C., Lai, C.-M. & Huang, C.-Y., 2013. Numerical Investigation of the Thermal Management Performance of MEPCM Modules for PV Applications. Energies, 6, 3922-3936.

Toledo, O.M., Oliveira Filho, D., Diniz, A.S.A.C., 2010. Distributed photovoltaic generation and energy storage systems: A review. Renew. Sustain. Energy Rev. doi:10.1016/j.rser.2009.08.007

Tamimi, B., Canizares, C., Bhattacharya, K., 2013. System stability impact of large-scale and distributed solar photovoltaic generation: The case of Ontario, Canada. IEEE Trans. Sustain. Energy 4, 680–688. doi:10.1109/TSTE.2012.2235151

Tonui, J. K. & Tripanagnostopoulos, Y., 2007. Improved PV/T solar collectors with heat extraction by forced or natural air circulation. Renewable Energy, 32, 623-637.

Wan, C., Zhao, J.,  Song, Y., Xu, Z., Lin, J.,  and Hu, Z., 2015. Photovoltaic and solar power forecasting for smart grid energy management, CSEE J. Power Energy Syst., vol. 1, no. 4, pp. 38–46.

Weniger, J., Tjaden, T., Quaschning, V., 2014. Sizing of residential PV battery systems, in: Energy Procedia. pp. 78–87. doi:10.1016/j.egypro.2014.01.160

Wu, S.-Y., Zhang, Q.-L., Xiao, L. & Guo, F.-H., 2011. A heat pipe photovoltaic/thermal (PV/T) hybrid system and its performance evaluation. Energy and Buildings, 43, 3558-3567.

Wu, Y., 2009. Thermal management of concentrator photovoltaics, PhD Thesis. University of Warwick, UK.

Wu, Y. & Eames, P., 2011. Experimental Characterisation of an Asymmetric Compound Parabolic PV Concentrator Complied with a Phase Change Material.  7th Photovoltaic Science, Applications and Technology Conference, Heriot-Watt University, Edinburgh, Scotland.

Yang, C., Thatte, A.A., Xie, L., 2015. Multitime-scale data-driven spatio-temporal forecast of photovoltaic generation. IEEE Trans. Sustain. Energy 6, 104–112. doi:10.1109/TSTE.2014.2359974

Yin, H. M., Yang, D. J., Kelly, G. & Garant, J., 2013. Design and performance of a novel building integrated PV/thermal system for energy efficiency of buildings. Solar Energy, 87, 184-195.

Yuan, Y., Zhang, N., Tao, W., Cao, X. & He, Y., 2014a. Fatty acids as phase change materials: A review. Renewable and Sustainable Energy Reviews, 29, 482-498.

Zalba, B., Marín, J. M., Cabeza, L. F. & Mehling, H., 2003. Review on thermal energy storage with phase change: materials, heat transfer analysis and applications. Applied Thermal Engineering, 23, 251-283.

Zondag, H. A., De Vries, D. W., Van Helden, W. G. J., Van Zolingen, R. J. C. & Van Steenhoven, A. A., 2003. The yield of different combined PV-thermal collector designs. Solar Energy, 74, 253-269.